|  |  |  |  |  |  |  |  | RCCA Form |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Information – External Quality Assurance (EQA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Please complete the form and submit it to your immediate supervisor no later than 30 days after testing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site/Laboratory Name: |  |  |  |  |  |  | OASYS ID: |  |  |  |  |  |  |  |  |
| Program Name: |  |  |  |  |  |  | Analyzer Name/Model: |  |  |  |  |  |  |  |  |
| Date Samples Received: |  |  |  |  |  | Date Test Performed: |  |  |  |  |  |  |  |  |  |
| Date Results Submitted: |  |  |  |  |  | Date Evaluations Available: |  |  |  |  |  |  |  |  |  |
| Previous Problems (If yes, explain): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Investigation Performed By: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |
| Unacceptable EQA Program: Date of Repeat testing: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Program Code |  | Analyte |  |  | Reported Result |  | Repeated Result |  |  | Intended Result/Peer Group |  |  |  |  |  |
| Root Cause Analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pre-Analytical errors: |  |  |  |  |  |  |  |  |  |  |  | YES |  | NO | N/A |
| 1. Were EQA samples, reagents and equipment received in the laboratory without delay? Please describe any delivery issues. Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Were samples shipped and stored appropriately according to temperature requirements provided in the Storage and Handling Instructions? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Did all EQA vials arrive intact (i.e. no missing, broken or leaking specimens) If not, did you contact the provider? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Did you prepare/reconstitute/dilute EQA samples as indicated by the kit instructions? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Were the Storage and Handling Instructions followed? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Were the correct tests performed on the correct specimen(s)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Was routine maintenance of instruments/equipment performed as scheduled (daily, weekly, monthly, etc.)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Did you check lot numbers and storage conditions of kits, reagents, and materials used to perform testing on samples? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Were all expiration dates verified before sample testing (Controls, reagents, etc.)? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Analytical Errors: |  |  |  |  |  |  |  |  |  |  |  | YES |  | NO | N/A |
| 1. Did you review the current and past evaluation reports for bias, shifts and trends? If present, were investigations performed and what were the outcomes? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Did you evaluate the instrument/method for any problems prior to or after the EQA event? Describe any problems identified. Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Was the calibration at the time of the test event reviewed for acceptability? If not acceptable, comment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. How do you establish your Quality Control (QC) mean and ranges? Lab established Use manufacturer’s Comments: |  |  |  |  |  |  |  |  |  |  |  | Not applicable |  |  |  |
| 5. Were all QC levels for this analyte within acceptable range(s) on the day the survey was run? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Are Westgard QC rules used? If so which ones? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Were historical reports reviewed for any trends, shifts and/or bias? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Does your laboratory track precision by monitoring Coefficient of Variation (CV) for this analyte? If yes, was your CV acceptable at the time of the survey? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. If manual calculation was performed for this analyte was it checked for accuracy? (dilutions, formula) Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Are questionable results reviewed by supervisor before reporting? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Was the instrument or reagent manufacturer contacted? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post Analytical Errors: |  |  |  |  |  |  |  |  |  |  |  | YES | NO |  | N/A |
| 1. Were the results correctly transcribed from the instrument print-out/ worksheets to the Worksheet? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Did you verify that the results submitted on OASYS matched the worksheet Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Were the correct instrument/method/reagent codes submitted in OASYS? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Were the correct units reported? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Were results reported to the correct decimal place? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Were your results graded in the appropriate peer group? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Did you select the correct result code for photographic images and/or microscopic examinations? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Investigative Actions and Root Cause: Briefly discuss what actions were taken in this investigation and what you believe is the primary cause of this EQA problem. Was Personnel training/competency reviewed? Staff education or re-training conducted, as appropriate? Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of Error: Methodological; Survey evaluation problem. Technical; Other (explain). Clerical. |
| Corrective Action: Results of Corrective Actions Can you correct the Problems Yes [ ] No [ ] Do you have a follow up plan? Yes [ ] No [ ] Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Future Preventative Measures/ Actions: Briefly discuss how you will prevent this problem from occurring in the future. Prepared by: Name/Title; Date; Signature. |
| For Internal use only.. Review:; Acceptable and complete Investigation.; Investigation is incomplete. See comments.. Comments:. Name/Title: Date:. |
| For OVERSeEING ORGANIZATION use only.. Review:; Acceptable and complete Investigation.; Investigation is incomplete. See comments.. Comments:. Name/Title: Date:. |

Table for supporting documents:

| Attachment# | Description of attachments |
| --- | --- |